## GW 4 Table 4
T | N/S | R | E/W | Section | Spring ID | Missing N or E | Owner or Name | Topographic Situation | Yield (gpm) | Date | Day added | Day, Month added | Water-Bearing Unit (Source and Outlet Beds) | Remarks | Questions/ Comments
1 | N | 2 | E | 19.14 |  |  | Campbell Farming Corp. | Arroyo floor | 10 | 1950-01-27 |  |  | Quaternary alluvium | Sulfate taste. Sample taken in sec. 3, T. 1 N., R. 2 E. | Dry on 5/1/1950
2 | N | 4 | E | 1.43 |  |  | West-Pyle Cattle Co. | Arroyo wall | 5 | 1949-08-30 |  |  | Madera limestone formation | Large water use by salt cedars.
2 | N | 4 | E | 12.21 |  |  | R. E. Miller | Head of canyon | 0.75 | 1949-08-26 |  |  | Madera limestone formation | Dripping Springs, 5,773. Reported small flow since 1945. Domestic supply. | "3/4 M" Yield
2 | N | 5 | E | 4.11 |  |  |  | Floor of Arroyo Abo | 13 | 1950-01-01 | x |  | Abo formation (source), Quaternary alluvium | Sulfate taste. | "10-15" Yield
2 | N | 5 | E | 9.44 |  |  | R. B. Laing | Narrow arroyo bottom |  |  |  |  | Abo formation | Vega Spring, 5,897. Spring flow is reabsorbed by alluvium.
3 | N | 4 | E | 33.44 |  |  | West-Pyle Cattle Co. | Small arroyo in mountain front |  | 1949-08-22 |  |  | Precambrian schist | Blue Springs.
1 | N | 2 | W | 1.33 |  | E | Campbell Farming Corp. | Broad arroyo terrace of Rio Salado |  |  |  |  | Quaternary alluvium | Salty water.
1 | N | 2 | W | 7.1 |  | E | Campbell Farming Corp. | Canyon walls | 500 | 1949-11-30 |  |  | Madera limestone | Salty water. Source of perennial flow of Rio Salado. Temp. 70F.
2 | N | 2 | W | 2.43 |  | E |  | Arroyo bottom | Dry | 1949-08-10 |  |  | Popotosa formation |  | Dry yield.
2 | N | 2 | W | 12.11 |  | E | Campbell Farming Corp. | Arroyo | 1 | 1949-08-10 |  |  | Popotosa formation | Yeso Springs.
3 | N | 2 | W | 14.42 |  | E | Lopez | Shallow arroyo bottom |  | 1949-05-01 | x |  | Quaternary alluvium | 5244
4 | N | 3 | W | 25.334 |  | E |  | Arroyo floor | 100 | 1950-01-05 |  |  | Arroyo underflow; source is in NE1/4 sec. 4, T. 3 N., R. 3 W. | Salty water. Flow absorbed by alluvium one-quarter mile downstream.
1 | S | 2 | E | 20.24 |  | N | Campbell Farming Corp. | Hillside | 3 | 1950-02-23 |  |  | Abo (?) formation
1 | S | 2 | E | 29.33 |  | N | Campbell Farming Corp. | Broad valley |  |  |  |  | Quaternary alluvium | Salty, alkali water.
1 | S | 2 | E | 30.34 |  | N | Campbell Farming Corp. | Foot of alluvial fan | 0.25 | 1950-02-23 |  |  | Quaternary (?) alluvium | Salty, alkali water. | "1/4" Yield
3 | N | 4 | E | 14.14 |  |  | West-Pyle Cattle Co. | Base of alluvial fan | 2.5 | 1949-09-02 |  |  | Quaternary alluvial fan | 5897 | 0.1 gpm on 3/27/1950
3 | N | 5 | E | 30.1 |  |  |  | North wall of canyon | 0.25 | 1949-12-02 |  |  | Madera limestone formation | Slight sulfate taste.
4 | N | 5 | E | 16.332 |  |  | U. S. Forest Service | Hillside | 3 | 1950-03-28 |  |  | Madera limestone formation | Pine Shadow Spring.