## GW7 Appendix A
T | N/S | R | E/W | Section | Missing N or E | Owner or Name | Year Drilled | Altitude (ft) | Depth of Well (ft) | Diameter of Casing (in.) | Geologic Source | Water Level: Depth to Water (ft) | Water Level: Date measured | Yield: Rate (gpm) | Yield: Date | Drawdown: amount (ft) | Drawdown: Length of test (hrs) | Use | Remarks
3 | N | 3 | E | 10.324 |  | Santa Fe Railway Co. | 1905 | 5179 | 470 | 13 | QTs | 365.7 | 1949-08-26 |  |  |  |  | RR
3 | N | 3 | E | 10324a |  | Santa Fe Railway Co. | 1903 | 5179 | 420 | 13 | QTs | 364 | 1905 | 50R |  | 36 |  | RR | 150 feet west of well 3.3.10.324
4 | N | 1 | E | 24.112 |  | J. W. Conant | 1952 | 4787 | 80 | 16 | Qal | 21.9 | 1956-03-28 | 800R |  |  |  | Is
4 | N | 1 | E | 25.222 |  | Frank Metzler | 1955 | 4769 | 123 | 16 | Qal | 5.2 | 1956-03-29 | 1692M | 1956-09-19 | 46.7 | S | Is, 0 | Monthly observation well; sp. cap. 36
4 | N | 2 | E | 6.124 |  | Mr. Grumson | 1955 | 4785 | 102 | 16 | Qal | 6.6 | 1956-04-11 | 1400R |  | 48 |  | Is, 0
4 | N | 2 | E | 6.144 |  | Mr. Grumson | 1952 | 4783 | 71 | 8 | Qal | 7.8 | 1957-01-31 | 400R |  |  |  | Is | Centrifugal pump
4 | N | 2 | E | 8.243 |  | Mr. Pattison | 1948 | 4783 | 38 | 12 | Qal | 5.8 | 1956-04-12 |  |  |  |  | Is | Centrifugal pump. Temperature 56°F
4 | N | 2 | E | 16.314 |  | Mr. Cannon | 1952 (?) | 4870 | 168 | 16 | QTs | 98.1 | 1956-04-11 | 1600R |  | 22 | S | I
4 | N | 2 | E | 25.434 |  | El Paso Natural Gas Co. | 1956 | 5025 | 381 | 8 | QTs | 242.1 | 1956-12-03 | 160R | 1956-10-01 |  |  | Ind | Used in natural gas pumping station
4 | N | 2 | E | 32.141 |  | A. L . Wheeler | 1952 | 4784 | 93 | 16 | QTs (?) | 24 | 1956-04-12 | 900R |  | 35.5 | S | I, 0 | Temperature 69°F
4 | N | 2 | E | 32.243 |  | A. L . Wheeler | 1950 | 4812 | 110 | 16 | QTs (?) | 46.4 | 1956-04-12 | 1200R |  | 37 | S | I | Discharges into adjacent pond
4 | N | 2 | E | 36.221 |  | El Paso Natural Gas Co. | 1956 | 5045 | 412.5 | 8 | QTs | 262 | 1956-11-26 | 110R | 1956-12-01 | 49 |  | Ind | Used in natural gas pumping station; Temperature 75°F; sp. cap. 2
5 | N | 1 | E | 12.434 |  | W. D. Radcliffe | 1952 | 4830 | 97 | 16 | Qal | 29.8 | 1956-03-28 | 437R | 1956-09-20 | 39.6 | S | Is | Temperature 64°F; sp. cap. 11
5 | N | 1 | E | 13.332 |  | Town of Belen No. 3 | 1953 | 4814 | 519 | 36 | QTs |  | 1956-11-28 | 893R | 1956-11-28 |  |  | Ps | Principal water supply; temp. 69°F
5 | N | 1 | E | 24.234 |  | Tibo Chaves | 1954 | 4831 | 160 | 12 | Qal | 36.4 | 1956-04-18 | 700R |  |  |  | Is
5 | N | 2 | E | 4.211 |  | C. R. Nuckols | 1951 | 4814 | 80 | 16 | Qal | 6.4 | 1956-03-15 | 1000R |  |  |  | Is, 0
5 | N | 2 | E | 5.321 |  | J. D. Stevenson | 1956 | 4810 | 40 | 10 | Qal | 7.6 | 1956-03-29 |  |  |  |  | Is | Driven well; partly completed when visited; plan 60 ft deep; Centrif. Pump
5 | N | 2 | E | 9.411 |  | J. A. Graham | 1911 (?) | 4832 | 51 | 72x72 | Qal | 25.5 | 1956-03-15 |  |  | 2 to 3 |  | I | Dug well; Centrifugal pump
5 | N | 2 | E | 18.412 |  | Town of Belen No. 2 | 1945 | 4802 | 460 | 14 | QTs (?) |  | 1957-01-07 | 450R |  |  |  | Ps | Emergency supply, seldom used
5 | N | 2 | E | 18.414 |  | Town of Belen No. 1 | 1927 | 4802 | 339 | 12 | QTs (?) |  | 1957-01-07 | 300R |  |  |  | Ps | Used few hours daily in summer
5 | N | 2 | E | 18.421 |  | Santa Fe Railway Co. |  | 4806 |  | 5 (?) | QTs (?) |  | 1957-01-10 |  |  |  |  | N | Jet pump; formerly used for railroad
5 | N | 2 | E | 18.423 |  | Santa Fe Railway Co. |  | 4805 |  | 5 | Qal | 13.4 | 1957-01-10 |  |  |  |  | N | Jet pump; formerly used for railroad
5 | N | 2 | E | 18.423a |  | Santa Fe Railway Co. |  | 4805 |  | 5 (?) | Qal |  | 1957-01-10 |  |  |  |  | N | Jet pump; formerly used for railroad
5 | N | 2 | E | 18.423b |  | Santa Fe Railway Co. | 1945 | 4804 |  | 12 | Qal |  | 1957-01-10 |  |  |  |  | RR
5 | N | 2 | E | 19.232 |  | Railways Ice Co. No. 1 | 1944 (?) | 4805 | 110 | 10 | Qal |  | 1957-01-10 | 360R |  |  |  | Ind | Water used for cooling only
5 | N | 2 | E | 19.232a |  | Railways Ice Co. No. 3 | 1944 | 4805 | 110 | 10 | Qal |  | 1957-01-10 | 501R |  |  |  | Ind | Water used for cooling only
5 | N | 2 | E | 19.232b |  | Railways Ice Co. No. 4 | 1952 | 4805 | 120 | 12 | Qal |  | 1957-01-10 | 376R |  |  |  | Ind | Water used for cooling only
5 | N | 2 | E | 28.124 |  | Mr. Campbell | 1953 | 4800 | 86 | 16 | Qal | 7.1 | 1956-04-12 | 1600R |  | 38 | S | I
5 | N | 2 | E | 32.143 |  | James Matsu | 1950 | 4790 | 48 | 12 | Qal | 6.4 | 1956-04-12 | 500R |  |  |  | N | About 20 feet from well 5.2.32.143a
5 | N | 2 | E | 32.143a |  | James Matsu | 1957 | 4790 | 100 | 18 | Qal |  | 1958-06-26 | 1500R | 1958-06-26 | 29.2 (?) | 7 | Is | Replaces well 5.2.32.143
6 | N | 1 | E | 5.412 |  | Santa Fe Railway Co. | 1926 | 5310 | 1107 | 15 | QTs | 477.7 | 1956-04-25 | 117R | 1926 | 70 |  | 0 | Formerly used for railroad
6 | N | 1 | E | 5.412a |  | Santa Fe Railway Co. | 1937 | 5310 | 1176 | 15 | QTs |  | 1956-04-25 |  |  |  |  | N | Formerly used for railroad
6 | N | 1 | E | 5.421 |  | Santa Fe Railway Co. | 1944 | 5310 | 1178 | 16 | QTs | 485 | 1905-04-29 | 22M | 1956-05-24 |  |  | RR
6 | N | 2 | E | 1.131 |  | L. N. McCullough |  | 4836 | 75 | 15 | Qal | 8 | 1956-03-13 |  |  |  |  | Is, 0 | Monthly observation well
6 | N | 2 | E | 1.223 |  | L. D. Harris | 1951 | 4850 | 127 | 16 | Qal | 16.7 | 1956-03-09 | 1600R |  |  |  | Is
6 | N | 2 | E | 2.124 |  | J. D. Evans | 1955 | 4840 | 100+ | 18 | Qal | 7.6 | 1956-03-09 | 1835M | 1956-09-14 | 38 | 4 | Is | Used with 6.2.2.411 when visited; sp. cap. 48
6 | N | 2 | E | 2.141 |  | Maurice Richeson | 1951 | 4840 | 72 | 12 | Qal | 8.3 | 1956-04-27 | 1400R |  |  |  | Is | Well not pumped in 1955 or 1956
6 | N | 2 | E | 2.343 |  | E. J. House | 1955 | 4834 | 96 | 12 | Qal | 7.3 | 1956-03-13 |  |  |  |  | Is | May not have been used in 1956
6 | N | 2 | E | 2.411 |  | Allene Woodmansee | 1950 | 4836 | 61 | 16 | Qal | 8.7 | 1956-03-13 | 825M | 1956-09-14 | 23.9 | 5 | Is | Used w/6.2.2.124 when visited; sp. cap. 34
6 | N | 2 | E | 2.431 |  | L. N. McCullough | 1953 | 4835 | 120 | 20 (?) | Qal | 9.5 | 1956-11-26 | 1500R |  |  |  | Is
6 | N | 2 | E | 2.444 |  | L. D. Harris | 1953 | 4836 | 90 (?) | 18 | Qal | 7 | 1956-03-09 | 1800R |  |  |  | Is
6 | N | 2 | E | 3.344 |  | Albert Jaramillo | 1951 | 4838 | 103 | 16 | Qal | 8.8 | 1956-04-12 | 1300R |  | 38 | 24 | Is
6 | N | 2 | E | 4.411 |  | Paul L. LeClaire | 1954 | 4837 | 87 | 12 | Qal | 5.2 | 1956-03-27 | 1000R |  |  |  | Is
6 | N | 2 | E | 5.212 |  | N. Mex. Penitentiary Farm No.4 |  | 4840 | 200 |  | Qal | 8.3 | 1956-03-26 | 735M | 1956-09-20 | 22.6 | S | Is | Specific capacity 32
6 | N | 2 | E | 5.244 |  | N. Mex. Penitentiary Farm No.5 |  | 4838 | 120 | 16 | Qal | 7.9 | 1956-03-26 | 1282M | 1956-10-01 | 65.4 | S | Is, 0 | Specific capacity 20; temperature 60°F
6 | N | 2 | E | 5.331 |  | N. Mex. Penitentiary Farm No.2 |  | 4837 | 120 |  | Qal | 11.4 | 1956-03-27 | 895M | 1956-09-19 | 30.5 | S | Is | Specific capacuty 13
6 | N | 2 | E | 6.442 |  | N. Mex. Penitentiary Farm No.1 |  | 4840 | 150 | 12 (?) | Qal | 14.2 | 1956-03-27 | 459M | 1956-09-19 | 34.6 | 27 | Is | Specific capacity 13
6 | N | 2 | E | 6.444 |  | State Agricultural Experiment Farm | 1957 | 4840 |  | 18 | Qal | 12.9 | 1957-07-12 |  |  |  |  | Is | New well, no pump when visited
6 | N | 2 | E | 7.421 |  | R. D. Braught | 1954 | 4840 | 96 | 18 | Qal | 13.2 | 1956-03-27 | 1250R |  | 10 (?) | 1 | Is | Drillers log
6 | N | 2 | E | 10.142 |  | Bartlett Smith | 1953 | 4834 | 83 | 12 | Qal | 8.5 | 1956-04-24 | 1000R |  |  |  | Is, 0
6 | N | 2 | E | 11.112 |  | E. J. House |  | 4834 | 65 | 12 | Qal | 8.8 | 1956-03-13 |  |  |  |  | Is | Unused when visited; may get pump later
6 | N | 2 | E | 16.423 |  | Tome Church (?) | 1951 | 4828 | 90 | 16 | Qal | 7.9 | 1956-03-14 | 600R |  |  |  | Is, 0 | Yield inadequate
6 | N | 2 | E | 19.413 |  | Medarto Sanchez (?) |  | 4825 |  | 16 | Qal | 9.8 | 1956-03-27 |  |  |  |  | Is, 0 | Has beed used to irrigate several small fields (each about 10 acres)
6 | N | 2 | E | 21.433 |  | F. B. Marquez | 1955 | 4822 | 63 | 5 | Qal |  |  | 200R |  |  |  | Is | Two wells here, 3 ft apart, joined by manifolds; no pump attached when visited
6 | N | 2 | E | 27.133 |  | C. M. Campbell | 1952 | 4819 | 105 | 16 | Qal | 7.6 | 1956-03-15 | 1200R |  |  |  | Is, 0 | Monthly observation well
6 | N | 2 | E | 28.323 |  | Adelino Sanchez | 1949 | 4821 | 83 | 14 | Qal | 8.2 | 1956-03-15 |  |  |  |  | Is
6 | N | 2 | E | 30.312 |  | A. R. Stradling | 1952 | 4833 | 120 | 18 | Qal | [6 empty] | N | Caved
6 | N | 2 | E | 30.313 |  | A. R. Stradling | 1952 | 4833 | 160 | 18 | Qal | 20.1 | 1956-03-27 | 1000R | 1953 | 70 | 6 | Is, 0
6 | N | 2 | E | 31.421 |  | A. A. Archuleta | 1952 | 4813 | 87 | 12 | Qal | 5 | 1956-04-13 |  |  |  |  | Is | Yield barley adequate
6 | N | 2 | E | 32.121 |  | Bob Pearce | 1954 | 4817 | 100 | 16 | Qal | 8.7 | 1956-03-28 | 2000R | 1954-05-20 | 26 | 12 | Is
6 | N | 2 | E | 34.212 |  | Ray Hobbs | 1946 (?) | 4829 |  |  | Qal | 17.2 | 1956-03-15 |  |  |  |  | Is
7 | N | 2 | E | 1.114 |  | Golden "C" Ranch | 1956 | 4868 |  | 15 | Qal | 6.3 | 1957-09-27 |  |  |  |  | Is
7 | N | 2 | E | 2.112 |  |  |  | 4870 |  |  | Qal | 8.4 | 1956-03-07 |  |  |  |  | Is
7 | N | 2 | E | 2.131 |  | B. C. Ringer | 1952 (?) | 4867 |  | 15 | Qal | 6.9 | 1956-03-07 | 1014M | 1956-09-12 | 35 | 4 | Is | Specific capacity 29
7 | N | 2 | E | 2.141 |  | Ray Birch | 1950 (?) | 4867 | 125 | 18 | Qal | 8.2 | 1956-03-08 | 1000R |  |  |  | Is
7 | N | 2 | E | 2.311 |  | D. L. Braught | 1949 | 4866 | 76 | 12 | Qal |  |  | 750R |  | 12 | S | Is | Centrifigal pump
7 | N | 2 | E | 2.313 |  | W. L. Stroope | 1951 | 4865 | 91 | 18 | Qal | 6.5 | 1956-03-07 | 1700R |  | 10 (?) |  | Is
7 | N | 2 | E | 2.322 |  | Bryan Beets | 1951 | 4866 | 83 | 16 | Qal | 8 | 1956-05-25 | 1500R |  |  |  | Is
7 | N | 2 | E | 2.422 |  | B. C. Ringer |  | 4868 | 55.9 | 18 | Qal | 10 | 1956-03-08 | 861M | 1956-09-12 | 12 | 4 | Is | Specific capacity 71
7 | N | 2 | E | 3.234 |  | D. L. Braught | 1956 | 4867 | 80 | 18 | Qal |  |  | 1386M | 1956-09-13 | 47 | S | Is | Specific capacity 30
7 | N | 2 | E | 11.121 |  | Chester Carpenter | 1951 | 4864 | 80 | 20 | Qal | 7.6 | 1956-03-08 | 1200R |  |  |  | Is
7 | N | 2 | E | 11.212 |  | Edgar Murray | 1950 | 4864 | 64 | 16 | Qal | 8.4 | 1956-03-08 | 1150R |  | 28 | 72 | Is
7 | N | 2 | E | 11.343 |  | C. C. Bristow | 1951 | 4859 | 98 | 16 | Qal | 6 | 1956-04-13 | 1350R |  | 38 | 2 | Is, 0
7 | N | 2 | E | 11.424 |  | R. M. Wasmer | 1951(?) | 4816 | 74 | 18 | Qal | 81 | 1956-04-13 | 1800R |  | 29 | 2 | Is
7 | N | 2 | E | 13.143 |  | C. L. Heiman | 1950 | 4857 | 61 | 16 | Qal | 11.6 | 1956-03-12 | 777M | 1956-11-26 | 18 | 18 | Is | Specific capacity 43
7 | N | 2 | E | 17.131 |  | Los Lunas Hospital | 1948 | 4985 | 530 | 20 | QTs | 135.2 | 1956-04-18 | 924M | 1956-08-21 | 30.6 | 30.6 | I | Emergency suppliment for 7.2.18.421; specific capacity 23
7 | N | 2 | E | 18.242 |  | Los Lunas Hospital | 1947 (?) | 4986 | 388.3 | 20 | QTs | 135.7 | 1956-03-14 |  |  |  |  | 0 | Monthly Obs. Well; 114 ft to 7.2.17.131
7 | N | 2 | E | 18.421 |  | Los Lunas Hospital | 1958 | 4985 | 407 | 16 | QTs | 134.5 | 1958-06-16 | 1284M | 1958-06-20 | 51.0+ | 3+ | I | Replaces 7.2.17.131; sp. cap. 25
7 | N | 2 | E | 21.314 |  | Los Lunas Hospital | 1946 | 4882 | 243 | 10 | QTs | 40.7 | 1956-05-25 | 108R | 1955 |  |  | Is | Sucks air; 108 gpm inc. surge; irrigates small orchard, trees in parkway
7 | N | 2 | E | 21.332 |  | Los Lunas Hospital | 1952 | 4878 | 607 | 20 | QTs | 32.5 | 1956-03-26 | 760M | 1956-03-26 |  |  | Is, Ps | Reported drawdown 57 ft @ 1500 gpm when tested by driller; temperature 67°F
7 | N | 2 | E | 24.134 |  | Mr. McGarrah |  | 4851 | 100 (?) | 12 | Qal | 7.1 | 1956-05-16 | 1500R |  |  |  | Is, 0
7 | N | 2 | E | 24.342 |  | N. S. Hill | 1952 (?) | 4849 |  |  | Qal | 8.4 | 1956-03-12 |  |  |  |  | Is
7 | N | 2 | E | 25.314 |  | Jack Freeman | 1954 (?) | 4846 | 90 (?) | 16 | Qal | 10.2 | 1956-03-12 |  |  |  |  | Is
7 | N | 2 | E | 25.344 |  | B. P. Washburn |  | 4843 | 79 |  | Qal |  |  | 1100R |  |  |  | Is
7 | N | 2 | E | 25.344a |  | B. P. Washburn | 1951 (?) | 4843 | 46.7 | 16 | Qal | 7.4 | 1956-03-14 |  |  |  |  | N | Open hole 7 feet from 7.2.25.344
7 | N | 2 | E | 26.122 |  | Roy and Truman Stovall | 1953 | 4851 | 74 | 18 | Qal | 4.8 | 1956-04-13 | 1500R | 1953 | 35 | 20 | Is | Temperature 59°F
7 | N | 2 | E | 26.234 |  | Mr. Turner | 1950 | 4848 | 71 | 10 | Qal | 7.1 | 1956-05-08 |  |  |  |  | Is
7 | N | 2 | E | 26.242 |  | B. P. Washburn |  | 4848 | 80 |  | Qal | 9.4 | 1956-03-14 | 1000R |  |  |  | Is | Owner reports yield not quite adequate for acreage irragation (approx. 60)
7 | N | 2 | E | 27.424 |  | L. D. Harris | 1953 | 4850 | 97 | 16 | Qal | 6.8 | 1956-03-09 | 1200R |  |  |  | Is
7 | N | 2 | E | 28.114 |  | Ernest Sichler | 1952 | 4863 | 108 | 16 | Qal | 19.8 | 1956-04-13 | 1557R | 1953-03-12 | 25 | S | Is | Cased to 100 ft; temperature 62°F
7 | N | 2 | E | 28.234 |  | Village of Los Lunas | 1939 | 4851 | 365 | 6 | QTs | 10 | 1956-11-28 | 150R |  |  |  | Ps | Temperature 65°F
7 | N | 2 | E | 28.243 |  | Village of Los Lunas | 1950 | 4851 | 400 | 8 | QTs | 10 | 1956-11-28 | 350R |  |  |  | Ps | Temperature 64°F
7 | N | 2 | E | 29.442 |  | Jack Wood | 1951 | 4847 | 87 | 13 | Qal | 7.7 | 1956-03-26 |  |  |  |  | N | Caved
7 | N | 2 | E | 32.321 |  | N. Mex. Penitentiary Farm No. 3 |  | 4840 | 150 |  | Qal | 7.1 | 1956-03-27 | 450R |  |  |  | Is
7 | N | 2 | E | 33.232 |  | N. C. Ribble | 1951 | 4844 | 90 | 16 | Qal | 7.1 | 1956-03-27 |  |  |  |  | Is, S | Helical pump
7 | N | 2 | E | 34.221 |  | Rio Grande Produce Co. No. 2 | 1951 | 4846 | 120 | 18 | Qal | 7.7 | 1956-03-09 | 2500R |  | 44 | 24 | Is
7 | N | 2 | E | 34.222 |  | Rio Grande Produce Co. |  | 4844 |  |  | Qal | [6 empty] | N | Centrifugal pump
7 | N | 2 | E | 35.243 |  | Ernest Greene | 1950 | 4842 | 46+ | 12 | Qal | 8.9 | 1956-03-13 |  |  |  |  | Is
7 | N | 2 | E | 35.314 |  | Rio Grande Produce Co. No. 1 | 1949 | 4841 | 100 |  | Qal |  |  | 1515M | 1956-09-14 | 30 | 12 | Is
7 | N | 2 | E | 35.334 |  | Ward Hobbs | 1956 | 4842 | 100 | 16 | Qal | 8.3 | 1956-03-13 |  |  |  |  | Is | New well, ti irrigate 70 acres; cased to 90 feet
7 | N | 2 | E | 35.343 |  | Ed Tixier | 1951 | 4842 | 68 | 14 | Qal | 8.8 | 1956-04-27 | 782M | 1956-09-20 | 21.5 | S | Is | Specific capacity 36
7 | N | 2 | E | 35.411 |  | Ernest Greene | 1954 | 4842 | 75 | 15 | Qal | 7.6 | 1956-03-13 | 1100R |  |  |  | Is
7 | N | 2 | E | 35.422 |  | K. H. Mims (lessee) |  | 4841 |  | 12 | Qal | [6 empty] | N | Formerly used for irrigation
7 | N | 2 | E | 36.111 |  | Scotte Turnbull |  | 4845 |  | 14 | Qal | 9.3 | 1956-04-27 | 1500R |  |  |  | Is
7 | N | 2 | E | 36.141 |  | K. H. Mims | 1950 | 4842 | 57 | 8 | Qal | 6.7 | 1956-04-19 |  |  |  |  | N
7 | N | 2 | E | 36.311 |  | K. H. Mims | 1950 | 4841 | 62 | 14 | Qal | 8.5 | 1956-04-27 | 800R |  |  |  | Is
7 | N | 3 | E | 19.334 |  | Leroy Evans | 1946 (?) | 4870 | 84 | 16 | Qal | 23.9 | 1956-03-12 | 700R |  |  |  | N
8 | N | 2 | E | 35.334 |  | H. Whitley | 1955 | 4869 | 80-100 | 16 | Qal | 6.9 | 1956-03-07 | 1700R |  |  |  | Is, 0
8 | N | 2 | E | 35.434 |  | Albert Davis | 1951 | 5503 | 78 | 18 | Qal | 6.2 | 1956-04-13 | 1900R |  | 45 | S | Is
8 | N | 3 | W | 5.212 |  | Dan's Café | 1935 (?) | 5510 | 114 (?) |  | Qal | 100 (?) | [5 empty] | Is | 500 to 1000 gpd reported use
8 | N | 3 | W | 6.224 |  |  | 1930 (?) |  | 120 |  | Qal | 116 (?) | 1957 (?) |  |  |  |  | Is